## Introduction
Technical Maintenance
PERFORMANCE REPORTING
Summary Overview of the KPIs and Bonus Malus Rule
The Service Provider must adhere to the Key Performance Indicators as provided in this Annex 6 – KPI Overview. The KPIs will be used to monitor:
- Completion of scheduled maintenance and inspection services
- Regular and ad-hock checks
- Emergency response
- Response & resolution to tickets
- Quality of work
- Contract management
- Completion of projects
- Improvement incentives
The individual evaluation criteria for each KPI is specified in this Annex 6 - KPI Overview.
The resulting score for each KPI will meet one of the following performance thresholds (the “Performance Thresholds”):
- Bonus: If the Service Provider’s score for a KPI meets the Performance Threshold “Bonus”, this may result in a bonus payment becoming payable to the Service Provider by the ESM;
- Tolerance: If the Service Provider’s score for a KPI meets the Performance Threshold “Tolerance”, there will be no impact on the fees payable; and
- Malus: If the Service Provider’s score for a KPI meets the Performance Threshold “Malus”, this will result in a service credit becoming payable to the ESM by the Service Provider, by way of a reduction in the fees or otherwise.
The evaluation of the KPIs will take place monthly. The monthly evaluation results are the basis for the calculation of the Bonus Amount and Malus Amount applicable at the end of the Evaluation Period. Full details on the operation of the KPIs and the Bonus Malus Rule are provided in Section 9 of the Terms of Reference.

## Annual Performance Report
Performance Report Technical Maintenance
Overview: | Jan-Dec
Evaluation Cleaning
| Month | Bonus/ Malus | Bonus/ Malus in % | Bonus/ Malus in EUR
January
February
March
April
May
June
July
August
September
October
November
December
|  | Total Annual evaluation result |  |  | Final Evaluation result
|  | Total Bonus/ Malus | Total Bonus/Malus in % | Total Bonus/Malus in EUR* | Total annually fees: | 0
|  | Bonus | 0% | 0 | 0 | To be paid by the ESM
|  | Malus | 0% | 0 | 0 | To be paid by the Service Provider
*If the final evaluation results malus, the Service Provider will be charged a maximum malus of 5% of the annual total.
Date:
Signature ESM representative:
Signature Contractor representative:

## Jan
Performance Report Technical Maintenance
| Month: | January
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the Service Provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Feb
Performance Report Technical Maintenance
| Month: | February
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM Team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result February | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Mar
Performance Report Technical Maintenance
| Month: | January
March
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM Team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM Team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM Team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM Team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result January | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Apr
Performance Report Technical Maintenance
| Month: | April
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM Team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result April | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## May
Performance Report Technical Maintenance
| Month: | May
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the ESM FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the ESM FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the ESM FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result May | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Jun
Performance Report Technical Maintenance
| Month: | June
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM Team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result June | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Jul
Performance Report Technical Maintenance
| Month: | July
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the Service Provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result July | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Aug
Performance Report Technical Maintenance
| Month: | August
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result August | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Sep
Performance Report Technical Maintenance
| Month: | September
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The service provider will carry out regular and ad hoc inspections of the building as described in Section 2.1.4 "Maintenance and Inspections Planning and Execution" of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The service provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result September | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Oct
Performance Report Technical Maintenance
| Month: | October
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the ESM FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the ESM FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the ESM FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Framework Agreement. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result October | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Nov
Performance Report Technical Maintenance
| Month: | November
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result November | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## Dec
Performance Report Technical Maintenance
| Month: | December
The documents/information to be reviewed for the KPIs are coloured grey in the timeline. The cells to be completed are coloured light purple. | [19 empty] | Performance Thresholds | [5 empty] | KPI evaluation
[20 empty] | Bonus | Tolerance | Malus |  |  |  | Monthly Evaluation
No. | KPI Category | KPI | Criteria | Measurement Period | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Weighting all KPIs | Application of KPIs | Weighting applicable KPIs | 2% | 0% | -2% | -5% | -10% | -15% | Evaluation | Bonus/ Malus | Bonus/ Malus weighted | Comments
1 | Compliance | Completion of scheduled maintenance and inspection services | Maintenance and inspection services The Service Provider will ensure that all Assets are maintained as per original manufacturer's recommendation, and in line with any health and safety, technical guidelines and legal requirements. This will be done per the maintenance schedule (Annual Maintenance Plan), to be done in the beginning of each year. If the Service Provider has not completed any scheduled maintenance and/or inspection in the preceding month in accordance with the Annual Maintenance Plan, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
2 | Quality | Regular and ad-hock checks | The Service Provider will carry out regular and ad hoc inspections of the Building as described in Section 2.1.5 Technical Maintenance Services, a) Building Maintenance Services (Preventive maintenance) of the Terms of Reference. The findings and evaluations of the checks performed will be documented in a template provided by the ESM. The Service Provider will upload the completed template of the checks performed during the week to the designated SharePoint folder by Monday 11am of the following week. If the Service Provider fails to upload the completed template on time, it will be counted as a failure. If the Service Provider does not complete all relevant information in the template (as deemed justified by the FM team), it will be counted as a failure. | Monthly | [12 empty] | 8% | Yes | 10% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
3 | Quality | Emergency response | Out-of-Hours Services The Service Provider will respond to and resolve all out of hours incidents as described in the Terms of References. The Resolution Times also apply to the Out-of-Hours Services. If the ESM or the ESM Security Provider cannot reach the Service Provider or if the incident is not resolved, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% |  | 0 | 1 Failure | 2 | 3 | > 3 Failures | bar: Jan to Dec
4 | Compliance | Response & resolution to tickets | The Service Provider must comply with the Ticket Response Times and the Ticket Resolution Times for tickets raised via the Ticketing Tool, as further described in section 6.2 of the Terms of Reference. Each breach of the Ticket Response Times and/or the Ticket Resolution Times will be counted as a failure. | Monthly | [12 empty] | 22% | Yes | 27.5% | < 3 Failures | 3 | 4 | 5 | 6 | > 6 Failures | bar: Jan to Dec
5 | Quality | Quality of work | The ESM is entitled, at its sole discretion, to conduct ad-hoc spot checks of the Services performed by the Service Provider. These spot checks may be conducted at any time and without prior notice. The ESM will assess whether the performed Services comply with the ESM high-quality service requirements and result in acceptable work quality. The term "acceptable work quality" is defined in a way that the result of the performed work is functional, neat and no improvisations have been used (unless as a temporary solution). The information provided about the work performed must be clear and complete, including at least information about costs, impact, consequences, and the advantages and disadvantages of the proposed solution. All aspects of the request must be included. The acceptable work quality will be defined and aligned between the service provider and the ESM during the first three months of the Contract. Should the assessment of the performed Services during the spot check reveal that the work result does not correspond to the acceptable work quality, it will be counted as a failure. Should a customer raise a complaint about a delivered work result and this complaint be deemed justified by the FM team, it will be counted as a failure. | Monthly | [12 empty] | 15% | Yes | 18.75% | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
6 | Compliance | Contract management | 1. The Service Provider will issue all reports and documentation in accordance with the contractual requirements. All must be complete and delivered in time. 2. The Service Provider will use the Ticketing Tool as further described in section 6.2 of the Terms of Reference. 3. Staff replacements must be executed as further described in section 5.3 of the Terms of Reference. 4. The Service Provider will provide quotes as further described in sections 2.1.5 and 2.2.1 of the Terms of Reference. 5. All personnel requirements and role assignments will be executed as further described in sections 5.3 and 5.4 of the Terms of Reference. 6. All Operational documents, as described in section 1.3.2 of the Terms of Reference, will be kept in an organised manner, and fully up-to-date at all times. 1. If the Service Provider delivers a report is late or does not prepare a report/documentation in compliance with the contractual requirements, it will be counted as a failure. 2. If the Service provider does not use the Ticketing Tool in compliance with the contractual requirements, it will be counted as a failure. 3. If the Service Provider does not execute staff replacements in compliance with the contractual requirements, it will be counted as a failure. 4. If the Service Provider does not provide offers in compliance with the contractual requirements, it will be counted as a failure. 5. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements, it will be counted as a failure. 6. If the Service Provider staff does not meet contractual requirements and does not fulfil their roles in compliance with the ESM's requirements it will be counted as a failure. For example, if any of the documents are out of date, inaccurate or non-existent, it will be counted as a failure. | Monthly | [12 empty] | 10% | Yes | 12.5% | < 4 Failures | 4 | 5 | 6 | 7 | > 7 Failures | bar: Jan to Dec
7 | Quality | Completion of projects | Simple and Complex Projects The evaluation includes all simple and complex projects with a completion date in the reporting month or in the previous months if the project has not yet been completed in the reporting month. All Simple and Complex Projects will be recorded in the Ticketing Tool as requests. All Simple and Complex Projects must be executed in accordance with the requirements set out in the Terms of References, completed within the agreed date and all required documents must be available. If the Simple and Complex Projects are not executed in accordance with the requirements set out in the Terms of References, completed within the agreed date, or if all required documents are not available, it will be counted as one failure. If the Simple and Complex Projects are not completed within 6 months of the agreed date, it will be counted as two failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within 12 months of the agreed date, it will be counted as three failures, unless the delay is deemed justified by the FM team. If the Simple and Complex Projects are not completed within more than 12 months of the agreed date, it will be counted as four failures, unless the delay is deemed justified by the FM team. | Monthly/ As required | [12 empty] | 15% | No | - | 0 Failures | 1 Failure | 2 Failures | 3 Failures | 4 Failures | > 4 Failures | bar: Jan to Dec
8 | Quality | Improvement incentives | If the Service Provider identifies and delivers incentives which add value to the ESM, the Service Provider is enabled to present these in the regular reporting meetings to the ESM. The incentives may include: - technology improvements, - innovation, - process enhancements, - cost reductions, - energy programmes, - increase in efficiency of work. The incentives must be directly connected to the scope of the Contract. They may, for instance, result in savings generated by lower energy consumption, improved speed of operations, or optimized life cycle cost and/or reduced effort for preventive or corrective maintenance for building technical equipment and/or structure. For the sake of clarity, the incentives do not include any initiatives that result in desired outcomes (as described above) at the expense of reduction in quality, or as a result of volumes-driven changes. ESM-borne incentives are also not considered. The ESM will have the right, at its sole discretion, to determine whether a suggested incentive will be counted. If the Service Provider has presented an appropriate incentive in a given month, the bonus for this KPI will apply. The ESM will have the right, at its sole discretion, to determine the applicability of a suggested incentive. The evaluation of the incentives is independent from the decision regarding implementation. If the Service Provider has presented an appropriate incentive in a given month, this will not have a negative impact on the overall KPI evaluation and the Tolerance for this KPI will apply. | Monthly/ As required | [12 empty] | 5% | No | - | ≥ 1 Improvement incentive | 0 Improvement incentive | bar: Jan to Dec
[17 empty] | 100% |  | 100% | Total performance result December | [5 empty] | Total evaluation result: |  | 0%
Total monthly fees

## KPI example
Monthly Evaluation Example
Month | January Evaluation | February Evaluation | March Evaluation | April Evaluation | May Evaluation | June Evaluation
Evaluation | (KPI no.1) Completion of scheduled maintenance and inspection services: Tolerance (KPI no.2) Regular and ad-hock checks: Tolerance (KPI no.3) Emergency response: Tolerance (KPI no.4) Response & resolution to tickets: Tolerance (KPI no.5) Quality of work: Tolerance (KPI no.6) Contract management: Tolerance (KPI no.7) Completion of projects: Tolerance (KPI no.8) Improvement incentives: Tolerance | (KPI no.1) Completion of scheduled maintenance and inspection services: Tolerance (KPI no.2) Regular and ad-hock checks: Bonus (KPI no.3) Emergency response: Tolerance (KPI no.4) Response & resolution to tickets: Malus (KPI no.5) Quality of work: Malus (KPI no.6) Contract management: Tolerance (KPI no.7) Completion of projects: Malus (KPI no.8) Improvement incentives: Tolerance | (KPI no.1) Completion of scheduled maintenance and inspection services: Bonus (KPI no.2) Regular and ad-hock checks: Bonus (KPI no.3) Emergency response: Tolerance (KPI no.4) Response & resolution to tickets: Bonus (KPI no.5) Quality of work: Tolerance (KPI no.6) Contract management: Bonus (KPI no.7) Completion of projects: Tolerance (KPI no.8) Improvement incentives: Tolerance | (KPI no.1) Completion of scheduled maintenance and inspection services: Bonus (KPI no.2) Regular and ad-hock checks: Tolerance (KPI no.3) Emergency response: Tolerance (KPI no.4) Response & resolution to tickets: Tolerance (KPI no.5) Quality of work: Tolerance (KPI no.6) Contract management: Tolerance (KPI no.7) Completion of projects: Malus (KPI no.8) Improvement incentives: Tolerance | (KPI no.1) Completion of scheduled maintenance and inspection services: Bonus (KPI no.2) Regular and ad-hock checks: Bonus (KPI no.3) Emergency response: Malus (KPI no.4) Response & resolution to tickets: Malus (KPI no.5) Quality of work: Malus (KPI no.6) Contract management: Bonus (KPI no.7) Completion of projects: N/a (KPI no.8) Improvement incentives: N/a | (KPI no.1) Completion of scheduled maintenance and inspection services: Bonus (KPI no.2) Regular and ad-hock checks: Bonus (KPI no.3) Emergency response: Malus (KPI no.4) Response & resolution to tickets: Bonus (KPI no.5) Quality of work: Tolerance (KPI no.6) Contract management: Bonus (KPI no.7) Completion of projects: N/a (KPI no.8) Improvement incentives: N/a
Result | Tolerance | Malus Amount | Bonus Amount | Tolerance | Malus Amount | Tolerance
Reasoning | In the above scenario, neither Bonus Amount nor Malus Amount applies as all KPIs met the Tolerance Performance Threshold. | In the above scenario: (1) No Bonus Amount applies, as although the Service Provider met the Bonus Performance Threshold for the KPI no.2 the Bonus Amount may be awarded only if during the monthly evaluation period the total evaluation result is positive and if the KPI no.3 does not meet the Malus Performance Threshold. (2) Malus Amount applies as the Service Provider met the Malus Performance Threshold for KPIs no.4 (5 failures), no.5 (3 failures) and no.7 (3 failures). The percentage of Bonus and Malus Amount will be weighted as indicated in monthly evaluation sheets in this document. | In the above scenario, a Bonus Amount applies as the Service Provider met the Bonus Performance Threshold for the KPIs no.1, no.2, no.4 and no.6, the total monthly evaluation result is positive and the KPI no.3 does not meet the Malus Performance Threshold. Accordingly, no Malus amount applies. | In the above scenario: (1) Tolerance applies as the total monthly evaluation result is balanced (0). (2) No Bonus Amount applies, as although the Service Provider met the Bonus Performance Threshold for the KPI no.1. the Bonus Amount may be awarded only if during the monthly evaluation period the total evaluation result is positive and if the KPI no.3 does not meet the Malus Performance Threshold. (3) No Malus Amount applies, as although the Service Provider met the Malus Performance Threshold for the KPI no.7. (2 Failures), the Malus Amount may be awarded only if during the monthly evaluation period the total evaluation result is negative. The percentage of Bonus and Malus Amount will be weighted as indicated in monthly evaluation sheets in this document. | In the above scenario: (1) No Bonus Amount applies, as although the Service Provider met the Bonus Performance Threshold for the KPI no.1, no.2 and no.6 the Bonus Amount may be awarded only if during the monthly evaluation period the total evaluation result is positive and if the KPI no.3 does not meet the Malus Performance Threshold. (2) Malus Amount applies as the Service Provider met the Malus Performance Threshold for KPIs no.3 (5 failures), no.4 (5 failures), and no.5 (3 failures). (3) The KPIs no.7 and no.8 are evaluated as required and do not apply in the month of May. The percentage of Bonus and Malus Amount will be weighted as indicated in monthly evaluation sheets in this document. | In the above scenario: (1) No Bonus Amount applies, as although the Service Provider met the Bonus Performance Threshold for the KPI no.1, no.2, no.4 and no.6 the Bonus Amount may be awarded only if during the monthly evaluation period the KPI no.3 does not meet the Malus Performance Threshold and the total evaluation result is positive. (2) No Malus Amount applies, as although the Service Provider met the Malus Performance Threshold for the KPI no.3 (2 failures), the Malus Amount may be awarded only if during the monthly evaluation period the total evaluation result is negative. Accordingly, the Tolerance Performance Threshold applies. (3) The KPIs no.7 and no.8 are evaluated as required and do not apply in the month of June.
Annual Evaluation Example
January: Tolerance February: Malus March: Bonus April: Tolerance May: Malus June: Tolerance July: Bonus August: Malus September: Bonus October: Malus November: Bonus December: Bonus In the above example, the 3 Malus Amounts would be added together and the Service Provider would need to pay the total (i.e. the Annual Malus Amount) to the ESM. The 5 Bonus Amounts would be added together and the Service Provider would need to invoice the total (i.e. the Annual Bonus Amount) to the ESM.