## Overview & Inst
Annex 8 Asset list
Please, fill in the asset list by adding the unit price for each specified asset as well as sub-contractor, if applicable. As described in the Terms of References, there are different responsibilities when it comes to the Asset list. The Service Provider has to provide information only for the Assets which are marked to be under ESM responsibility. The Assets which are marked to be under LL responsibility are maintained by the ESM Property Manager and are therefore marked in grey. The total sum will be used for evaluation purposes in Annex 4 Commercial Response Template
'How to complete' Instructions:
Please complete only the Cells in Yellow with either price (€) or quantity information. Please provide any supporting calculations, assumptions or other information within the comments box.
Cells in Orange are used for calculations. Please do not modify those.
Cells in white do not require any input.

## Asset List
Annex 4 - Commercial Response
Annex 8 - Asset list
| Category |  |  |  | Specification | [5 empty] | Trouble Shooting | Maintenance |  |  | Responsibility |  | Price
Changes | ID No. | Cost group DIN 276 | Technical Category | Sub category | Equipment | Manufacturer | Model | Additional information | Warranty (if applicable) | Sub Contractor (if already known) | Priority | Quantity | Unit | Annual Maintenance Interval | ESM | LL | Price/Unit/Interval | Total Price | 0
| 1 | 330 | Exterior walls | Doors and Gates | Main entrance door | Dorma | ED250 | 2 wings Ground floor |  |  | A | 2 | pcs. | 1 | x |  |  | 0
| 2 | 340 | Interior walls | Doors and Gates | Catching device |  | BMA/RM | At door with 1 wing |  |  | B | 21 | pcs. | 1 |  | x
| 3 | 340 | Interior walls | Doors and Gates | Catching device |  | BMA/RM | At door with 2 wings |  |  | B | 23 | pcs. | 1 |  | x
| 4 | 340 | Interior walls | Doors and Gates | Door elements |  |  | with fire/smoke protection requirement T30/60/90; 2 wings |  |  | B | 13 | pcs. | 1 |  | x
| 5 | 340 | Interior walls | Doors and Gates | Door elements | Teckentrup | Forster Fuego light | Steel door of pipe frame door with fire/smoke protection requirement T30/60/90; 2 wings |  |  | B | 5 | pcs. | 1 |  | x
| 6 | 340 | Interior walls | Doors and Gates | Door elements |  |  | Without requirement; 1 wing |  |  | B | 12 | pcs. | 1 | x |  |  | 0
| 7 | 340 | Interior walls | Doors and Gates | Door elements |  |  | Without requirement; 2 wings |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 8 | 340 | Interior walls | Doors and Gates | Door elements |  |  | With fire/smoke protection requirement T30/60/90; 1 wing |  |  | B | 21 | pcs. | 1 |  | x
| 9 | 340 | Interior walls | Doors and Gates | Door elements | Teckentrup | Forster Fuego light | Steel door of pipe frame door without requirement; 1 wing |  |  | B | 1 | pcs. | 1 |  | x
| 10 | 340 | Interior walls | Doors and Gates | Door elements | Neuform-Tür |  | Wood door without requirement; 1 wing Ground floor : T6, T8, T9, T10a, T10 -1 : T20, T21 |  |  | B | 7 | pcs. | 1 | x |  |  | 0
| 11 | 340 | Interior walls | Doors and Gates | Door elements | Teckentrup | Forster Fuego light | Steel door of pipe frame door with fire/smoke protection requirement T30/60/90; 1 wing |  |  | B | 9 | pcs. | 1 |  | x
| 12 | 340 | Interior walls | Doors and Gates | Door elements | Neuform-Tür |  | Wood door with fire/smoke protection requirement T30/60/90; 1 wing Ground floor: T12, T7 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 13 | 340 | Interior walls | Doors and Gates | Electric door striker | effeff | Eff profix2 10-24 volts |  |  |  |  | 2 | pcs | 1 | x |  |  | 0
| 14 | 340 | Interior walls | Partition walls | Mobile walls | Nüsing |  | Meeting rooms -1 level (Conference area) |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 15 | 370 | Infrastructure facilities | Pipe accessories | (Grease separator) Pump from degreaser | ACO |  |  |  |  | B | 1 | pcs. | 4 | x |  |  | 0
| 16 | 370 | Infrastructure facilities | Pipe accessories | Grease separator | ACO | Hydro jet OS NS3 |  |  |  | B | 1 | pcs. | 4 | x |  |  | 0
| 17 | 370 | Infrastructure facilities | Sewage pipe | Degreaser pipe | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 18 | 410 | Sewage, water and gas systems | Sanitary Installations | Disabled toilet | [5 empty] | B | 2 | pcs. | 1 | x |  |  | 0
| 19 | 410 | Sewage, water and gas systems | Sanitary Installations | General purpose sink | [5 empty] | B | 4 | pcs. | 1 | x |  |  | 0
x | 20 | 410 | Sewage, water and gas systems | Sanitary Installations | Paper dispenser |  |  | Manual |  |  |  | 4 | pcs | 1 | x |  |  | 0
x | 21 | 410 | Sewage, water and gas systems | Sanitary Installations | Paper dispenser | TORK | Tork matic | Automatic | Warranty to 2023-07 |  |  | 4 | pcs. | 1 | x |  |  | 0
| 22 | 410 | Sewage, water and gas systems | Sanitary Installations | Paper dispenser | TORK | Tork matic | Automatic | Warranty to 2024-06 |  |  | 40 | pcs. | 1 | x |  |  | 0
| 23 | 410 | Sewage, water and gas systems | Sanitary Installations | Shower | [5 empty] | B | 4 | pcs. | 1 | x |  |  | 0
x | 24 | 410 | Sewage, water and gas systems | Sanitary Installations | Soap dispensers | Delabie |  | Automatic | Warranty to 2023-07 |  |  | 4 | pcs. | 1 | x |  |  | 0
x | 25 | 410 | Sewage, water and gas systems | Sanitary Installations | Soap dispensers |  |  | Manual |  |  |  | 4 | pcs | 1 | x |  |  | 0
| 26 | 410 | Sewage, water and gas systems | Sanitary Installations | Soap dispensers | Delabie | Inox 304 poli | Automatic/ Touchless | Warranty to 2023-07 |  |  | 4 | pcs. | 1 | x |  |  | 0
| 27 | 410 | Sewage, water and gas systems | Sanitary Installations | Soap dispensers | Delabie | Inox 304 poli | Automatic/ Touchless | Warranty to 2024-06 |  |  | 35 | pcs. | 1 | x |  |  | 0
x | 28 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal | Duravit |  | Waterless | Warranty to 2023-07 |  |  | 1 | pcs. | 1 | x |  |  | 0
x | 29 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal |  |  | Manual |  |  |  | 1 | pcs | 1 | x |  |  | 0
x | 30 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal |  |  | Waterless |  |  |  | 1 | pcs | 1 | x |  |  | 0
| 31 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal | Duravit | Durastyle | Waterless | Warranty to 2023-07 |  |  | 1 | pcs. | 1 | x |  |  | 0
| 32 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal | Duravit | Durastyle | Waterless | Warranty to 2024-06 |  |  | 21 | pcs. | 1 | x |  |  | 0
x | 33 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal sensor | Grohe |  |  | Warranty to 2023-07 |  |  | 1 | pcs. | 1 | x |  |  | 0
| 34 | 410 | Sewage, water and gas systems | Sanitary Installations | Urinal sensor | Grohe | Tectron |  | Warranty to 2023-07 |  |  | 1 | pcs. | 1 | x |  |  | 0
| 35 | 410 | Sewage, water and gas systems | Sanitary Installations | Washbasins | [5 empty] | B | 15 | pcs. | 1 | x |  |  | 0
| 36 | 410 | Sewage, water and gas systems | Sanitary Installations | Washbasins | [5 empty] | B | 8 | pcs. | 1 |  | x
x | 37 | 410 | Sewage, water and gas systems | Sanitary Installations | Water tap | GROHE |  | Infrared tap; Automatic | Warranty to 2023-07 |  |  | 2 | pcs. | 1 | x |  |  | 0
x | 38 | 410 | Sewage, water and gas systems | Sanitary Installations | Water tap | [6 empty] | 2 | pcs | 1 | x |  |  | 0
| 39 | 410 | Sewage, water and gas systems | Sanitary Installations | Water tap | GROHE | BAU cosmopolitan | Automatic/ Touchless | Warranty to 2023-07 |  |  | 2 | pcs. | 1 | x |  |  | 0
| 40 | 410 | Sewage, water and gas systems | Sanitary Installations | Water tap | GROHE | BAU cosmopolitan | Automatic/ Touchless | Warranty to 2024-06 |  |  | 40 | pcs. | 1 | x |  |  | 0
| 41 | 410 | Sewage, water and gas systems | Sanitary Installations | Water Tap | FRANKE | ATLAS NEO WINDOW | Foamer must be replaced once a year |  |  |  | 1 | pcs | 1 | x |  |  | 0
| 42 | 410 | Sewage, water and gas systems | Sanitary Installations | WC | [5 empty] | B | 21 | pcs. | 1 | x |  |  | 0
| 43 | 410 | Sewage, water and gas systems | Sanitary Installations | WC | [5 empty] | B | 20 | pcs. | 1 |  | x
| 44 | 410 | Sewage, water and gas systems | Water heating | Boiler | [5 empty] | B | 11 | pcs. | 1 | x |  |  | 0
| 45 | 410 | Sewage, water and gas systems | Water heating | Boiler |  |  | Hot water boiler for domestic hot water for sanitary rooms |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 46 | 410 | Sewage, water and gas systems | Water heating | Boiler |  |  | Existing one |  |  | B | 4 | pcs. | 1 |  | x
| 47 | 410 | Sewage, water and gas systems | Water heating | Heating pump | Wilo | Stratos |  |  |  | B | 1 | pcs. | 1 |  | x
| 48 | 410 | Sewage, water and gas systems | Water pump | Circulation pump | Wilo | Star-Z |  |  |  | B | 1 | pcs. | 1 |  | x
x | 49 | 410 | Sewage, water and gas systems | Water pump | Lift pump | Sauermann |  |  | Warranty to 2023-05 |  |  | 4 | pcs. | 1 | x |  |  | 0
| 50 | 410 | Sewage, water and gas systems | Water pump | Lift pump | Sauermann | SI-83 |  | Warranty to 2023-05 |  |  | 4 | pcs. | 1 | x |  |  | 0
| 51 | 410 | Sewage, water and gas systems | Water pump | Waste water lifting unit | ACO | Muli-Mini |  |  |  | B | 1 | pcs. | 4 |  | x
| 52 | 430 | Ventilation and air conditioning systems | Cooling | AC | CIAT | Ciat Ach 23 H1830 | Cooling power: 55 kW. Used for IT room |  |  | B | 1 | pcs. | 1 |  | x
| 53 | 430 | Ventilation and air conditioning systems | Cooling | AC | Mitsubishi |  | 3.5 kW cooling capacity, 810 m³/h air flow for UPS room |  |  | B | 2 | pcs. | 1 |  | x
| 54 | 430 | Ventilation and air conditioning systems | Cooling | Climate cabinet |  |  | IT room +2 |  |  | B | 2 | pcs. | 2 |  | x
| 55 | 430 | Ventilation and air conditioning systems | Cooling | Condensing unit | Silensys | SIL9510Z | 2.48 cooling capacity. Used for the kitchen's cold room |  |  | B | 1 | pcs. | 1 |  | x
| 56 | 430 | Ventilation and air conditioning systems | Cooling | Cooling strips | [5 empty] | B | 408 | pcs. | 1 |  | x
| 57 | 430 | Ventilation and air conditioning systems | Cooling | Cooling system | Midea | MFME-70 | Server room Ground floor / roof |  |  | B | 1 | pcs. | 1 |  | x
| 58 | 430 | Ventilation and air conditioning systems | Cooling | Cooling system | Toshiba | RAV-SP | Area D Ground floor / roof |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 59 | 430 | Ventilation and air conditioning systems | Cooling | Single AHU | Toshiba | Mirai, 2,5kW |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 60 | 430 | Ventilation and air conditioning systems | Cooling | Water chiller | CIAT | Ciatcooler LGN 150Z | Chilled water group with a 42 kW cooling capacity. Refrigerant quantity: 3.5 kg. Used for IT room |  |  |  | 1 | pcs. | 1 |  | x
| 61 | 430 | Ventilation and air conditioning systems | Heating | Radiators | [10 empty] | x
| 62 | 430 | Ventilation and air conditioning systems | Heating | Underfloor heating distributor | Rehau | HKV-D |  |  |  | B | 1 | pcs. | 1 |  | x
| 63 | 430 | Ventilation and air conditioning systems | Ventilation | Air grill | Schako | IB 1 |  |  |  | B | 1 | pcs. | 1 |  | x
| 64 | 430 | Ventilation and air conditioning systems | Ventilation | Air intake tower | Lindab | LHR |  |  |  | B | 1 | pcs. | 1 |  | x
| 65 | 430 | Ventilation and air conditioning systems | Ventilation | Central balanced ventilation with heat recovery | Aircotech | 6 | Pulse rate: 450 m³/h for UPS room. |  |  | B | 2 | pcs. | 1 |  | x
| 66 | 430 | Ventilation and air conditioning systems | Ventilation | Combined exhaust | Schako | KWB |  |  |  | B | 1 | pcs. | 1 |  | x
| 67 | 430 | Ventilation and air conditioning systems | Ventilation | GEA convector fan |  |  | IT room +1 |  |  | B | 2 | pcs. | 2 |  | x
| 68 | 430 | Ventilation and air conditioning systems | Ventilation | Induction diffusers | Trox | DID632 |  |  |  | B | 166 | pcs. | 1 |  | x
| 69 | 430 | Ventilation and air conditioning systems | Ventilation | Long throw grid | Schako | WGA |  |  |  | B | 4 | pcs. | 1 |  | x
| 70 | 430 | Ventilation and air conditioning systems | Ventilation | Nozzle exhaust | Schako | AL11-VM12 |  |  |  | B | 3 | pcs. | 1 |  | x
| 71 | 430 | Ventilation and air conditioning systems | Ventilation | Overpressure valve angular | Schako | ÜK-U |  |  |  | B | 2 | pcs. | 1 |  | x
| 72 | 430 | Ventilation and air conditioning systems | Ventilation | Ventilating ceiling kitchen | Südluft |  |  |  |  | B | 1 | pcs. | 1 |  | x
| 73 | 430 | Ventilation and air conditioning systems | Ventilation | Ventilating ceiling kitchen | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 74 | 430 | Ventilation and air conditioning systems | Ventilation | Ventilation unit kitchen | Multi-Cross | GSH7500 |  |  |  | B | 1 | pcs. | 2 |  | x
| 75 | 430 | Ventilation and air conditioning systems | Ventilation | Ventilator | Helios | KVD 450/6/100/50 |  |  |  | B | 2 | pcs. | 1 |  | x
| 76 | 430 | Ventilation and air conditioning systems | Ventilation | Volume flow controller | Schako | VRA-Q-E |  |  |  | B | 4 | pcs. | 1 |  | x
| 77 | 430 | Ventilation and air conditioning systems | Ventilation | Weather protection grill | Schako | ALA-S |  |  |  | B | 2 | pcs. | 1 |  | x
| 78 | 440 | Power installations | Electric car charging stations | E Car Charger | INOGY |  | Functional, but out of use. |  |  | B | 2 | pcs. | 2 | x |  |  | 0
| 79 | 440 | Power installations | Electric car charging stations | E Car Charger | Schneider | EV Link Pro |  |  |  |  | 12 | pcs | 1 | x |  |  | 0
| 80 | 440 | Power installations | Electricity | CEE Socket | ABL |  | 400V/16A, flushed-mounted |  |  | B | 8 | pcs. | 1 | x |  |  | 0
| 81 | 440 | Power installations | Electricity | CEE Socket | ABL |  | 400V/32A, flushed-mounted |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 82 | 440 | Power installations | Electricity | CEE Socket | ABL | D51S30 | 400V/16A, surface-mounted |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 83 | 440 | Power installations | Electricity | Circuit breaker |  | IC60N 3P 63A courbe C |  |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 84 | 440 | Power installations | Electricity | Circuit breaker |  | Vigi iC60 3P 63A |  |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 85 | 440 | Power installations | Electricity | Circuit breaker |  | IC60N 3P 63A courbe B |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 86 | 440 | Power installations | Electricity | DALI-Gateway | Schneider Elect | MTN6725-0001 | DALI-Gateway, 1-gang, 16 groups |  |  | B | 11 | pcs. | 1 | x |  |  | 0
| 87 | 440 | Power installations | Electricity | Distributor floor sockets | OBO |  | In the raised floor |  |  | B | 72 | pcs. | 1 | x |  |  | 0
| 88 | 440 | Power installations | Electricity | Electric control cabinet | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 89 | 440 | Power installations | Electricity | Electric distribution kitchen ground floor | EATON | IVS | UV-Kitchen |  |  | A | 1 |  | 1 | x |  |  | 0
| 90 | 440 | Power installations | Electricity | Electric distribution server room | EATON | IVS | UV-Normal/USV Local Server |  |  | A | 1 |  | 1 | x |  |  | 0
| 91 | 440 | Power installations | Electricity | Electric distribution server room | EATON | IVS | UV-USV Local Server |  |  | A | 1 |  | 1 | x |  |  | 0
| 92 | 440 | Power installations | Electricity | Emergency stop button | JUNG | LS990 white |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 93 | 440 | Power installations | Electricity | Floor sockets | OBO | GES9 | GES9 device insert for raised floor with carpet equipped with 6x230V normal, 1x230V UPS, 2x space units for RJ45 duplex |  |  | B | 90 | pcs. | 1 | x |  |  | 0
| 94 | 440 | Power installations | Electricity | Floor sockets | OBO | GES10 | GES9 device insert for raised floor with parquet equipped with 6x230V normal, 1x230V UPS, 2x space units for RJ45 duplex |  |  | B | 26 | pcs. | 1 | x |  |  | 0
| 95 | 440 | Power installations | Electricity | Fuse |  | IC60N 3P 16A class C |  |  |  | B | 27 | pcs. | 1 | x |  |  | 0
| 96 | 440 | Power installations | Electricity | Fuse |  | IC60N 3P 63A class C |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 97 | 440 | Power installations | Electricity | Fuse |  | IC60N 1P 10A class B |  |  |  | B | 6 | pcs. | 1 | x |  |  | 0
| 98 | 440 | Power installations | Electricity | Fuse |  | IC60N 1P 16A class C |  |  |  | B | 57 | pcs. | 1 | x |  |  | 0
| 99 | 440 | Power installations | Electricity | KNX Blinds | Schneider Elect | MTN649804 | Blind/roller shutter actuator, 2-gang, 230 V |  |  | B | 37 | pcs. | 1 | x |  |  | 0
| 100 | 440 | Power installations | Electricity | KNX dimming actuator | Schneider Elect | MTN649350 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 101 | 440 | Power installations | Electricity | KNX Motion detector | THEBEN |  | Floor way 8m, flushed-mounted |  |  | B | 15 | pcs. | 1 | x |  |  | 0
| 102 | 440 | Power installations | Electricity | KNX push button | JUNG | LS990 white | 4-gang |  |  | B | 22 | pcs. | 1 | x |  |  | 0
| 103 | 440 | Power installations | Electricity | KNX push button | JUNG | LS990 white | 1-gang |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 104 | 440 | Power installations | Electricity | KNX touch-panel | Zennio | Z41 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 105 | 440 | Power installations | Electricity | Light switch |  | Various versions |  |  |  | B | 149 | pcs. | 1 | x |  |  | 0
| 106 | 440 | Power installations | Electricity | Line coupler | Schneider Elect | MTN680204 | REG |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 107 | 440 | Power installations | Electricity | Motion detector | ESYLUX |  | Ceiling motion detector |  |  | B | 25 | pcs. | 1 | x |  |  | 0
| 108 | 440 | Power installations | Electricity | Motion detector | ESYLUX | MD-CD360/8 | Motion detector 360 degrees |  |  | B | 16 | pcs. | 1 | x |  |  | 0
| 109 | 440 | Power installations | Electricity | Power supply | Schneider Elect | MTN684064 | EIB power supply 640 mA, REG |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 110 | 440 | Power installations | Electricity | Power supply unit expansion housing | ARITECH | PM812NGZ; PM812N-3 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 111 | 440 | Power installations | Electricity | Rail switch |  | Acti9 iSW 3P 100A 415V |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 112 | 440 | Power installations | Electricity | Rocker switch | JUNG | WG | Surface-mounted |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 113 | 440 | Power installations | Electricity | Schuko power socket |  | ES 2520 |  |  |  | B | 110 | pcs. | 1 | x |  |  | 0
| 114 | 440 | Power installations | Electricity | Schuko power socket |  | LS 520 WW |  |  |  | B | 55 | pcs. | 1 | x |  |  | 0
| 115 | 440 | Power installations | Electricity | Schuko power socket AP WD 1-time IP44 | [5 empty] | B | 7 | pcs. | 1 | x |  |  | 0
| 116 | 440 | Power installations | Electricity | Socket double | JUNG | LS990 white | Flushed-mounted |  |  | B | 11 | pcs. | 1 | x |  |  | 0
| 117 | 440 | Power installations | Electricity | Socket single | JUNG | LS990 white | Flushed-mounted |  |  | B | 52 | pcs. | 1 | x |  |  | 0
| 118 | 440 | Power installations | Electricity | Socket single | JUNG | WG | Surface-mounted |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 119 | 440 | Power installations | Electricity | Switch | Schneider Elect | MTN649208 | 8-gang, 10 A, REG |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 120 | 440 | Power installations | Electricity | Switch | Schneider Elect | MTN649204 | 4-gang, 10 A, REG |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 121 | 440 | Power installations | Electricity | Switch control and power supply units | Siedle | BVVS 650-0 |  |  |  | B | 1 | pcs. | 1 |  | x
| 122 | 440 | Power installations | Electricity | Universal off/changeover rocker switches | JUNG | LS990 white | Flushed-mounted, IP 44 |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 123 | 440 | Power installations | Electricity | USB Interface | Schneider Elect | MTN681829 | REG |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 124 | 440 | Power installations | Kitchen equipment | Dishwasher | [6 empty] | 3 | pcs. | 2 | x |  |  | 0
| 125 | 440 | Power installations | Kitchen equipment | Dishwasher | Miele | MIELE PRO PFD104SCVI XXL | +1 floor kitchen | Warranty to 2025-04 |  |  | 1 | pcs | 2 | x |  |  | 0
| 126 | 440 | Power installations | Kitchen equipment | Dishwasher | SIEMENS | SN63HX60CE | +2 floor kitchen | Warranty to 2025-05 |  |  | 1 | pcs | 2 | x |  |  | 0
| 127 | 440 | Power installations | Kitchen equipment | Fridge | [6 empty] | 4 | pcs. | 1 | x |  |  | 0
| 128 | 440 | Power installations | Lights | Alim 24V | GIRA | KO00000679 | Light Control | Warranty to 2025-02 |  |  | 2 | pcs | 1 | x |  |  | 0
| 129 | 440 | Power installations | Lights | Light |  | various versions |  |  |  | B | 897 | pcs. | 1 | x |  |  | 0
| 130 | 440 | Power installations | Lights | Light bulb |  | various versions |  |  |  | B | 1615 | pcs. | 1 | x |  |  | 0
| 131 | 440 | Power installations | Lights | Light control panel | GIRA | EP43823153 10" Touch-PC 2x1.58/2/64SSD | Light control To be changed once a year | Warranty to 2025-02 |  |  | 3 | pcs | 1 | x |  |  | 0
| 132 | 440 | Power installations | Lights | Type 10c lights | Zumtobel | MIRL | Pendant office light |  |  | B | 68 | pcs. | 1 | x |  |  | 0
| 133 | 440 | Power installations | Lights | Type 1Na lights | Zumtobel | PANOS EVO R200L16W | Downlight new LED DALI |  |  | B | 84 | pcs. | 1 | x |  |  | 0
| 134 | 440 | Power installations | Lights | Type 2b lights | Art Luce | drop field Q4x4 | Integrated |  |  | B | 115 | pcs. | 1 | x |  |  | 0
| 135 | 440 | Power installations | Lights | Type 3b lights | Art Luce | JUNIOR | Wall washer swivelling |  |  | B | 18 | pcs. | 1 | x |  |  | 0
| 136 | 440 | Power installations | Lights | Type 5c lights | Art Luce | JUNIOR | Downlight spot floor way |  |  | B | 160 | pcs. | 1 | x |  |  | 0
| 137 | 440 | Power installations | Lights | Type 6 lights | Zumtobel | ONIC | Slope spot |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 138 | 440 | Power installations | Lights | Type 7 lights | Art Luce | Plant light | Plant light |  |  | B | 15 | pcs. | 1 | x |  |  | 0
| 139 | 440 | Power installations | Lights | Type 8a lights | CEL |  | Canteen light stock |  |  | B | 7 | pcs. | 1 | x |  |  | 0
| 140 | 440 | Power installations | Lights | Type 8b lights | Zumtobel | ONDARIA | Canteen light d. 59cm |  |  | B | 8 | pcs. | 1 | x |  |  | 0
| 141 | 440 | Power installations | Lights | Type 8c lights | Zumtobel | ONDARIA | Canteen light d. 87cm |  |  | B | 7 | pcs. | 1 | x |  |  | 0
| 142 | 440 | Power installations | Lights | Type 9a lights | Zumtobel | CLEAN | Kitchen |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 143 | 440 | Power installations | Lights | Type 9b lights | Zumtobel | CHIARO2 | Side room |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 144 | 440 | Power installations | UPS | Astreinte 24/7 | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 145 | 440 | Power installations | UPS | Emergency hotline |  |  | On-call service (7/7 24h) |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 146 | 440 | Power installations | UPS | Emergency power supply unit | Slat | Evolution |  |  |  | B | 19 | pcs. | 1 | x |  |  | 0
| 147 | 440 | Power installations | UPS | Emergency power supply unit | INTERFLEX |  | Emergency power supply units |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 148 | 440 | Power installations | UPS | UPS battery surveillance system | Socomec | BHC |  |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 149 | 440 | Power installations | UPS | UPS battery system | Socomec | GP2.0 |  |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 150 | 440 | Power installations | UPS | UPS system | Socomec | Masterys GP 100 KVA |  |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 151 | 440 | Power installations | UPS | UPS system | Aunilec | IRIS3RT |  |  |  |  | 1 | pcs | 1 | x |  |  | 0
| 152 | 450 | Communication, security and information technology systems | Access control and emergency exits | Access management software | Interflex | IF6040 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 153 | 450 | Communication, security and information technology systems | Access control and emergency exits | Access management software | INTERFLEX |  | Access control software extension for 8 badge readers |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 154 | 450 | Communication, security and information technology systems | Access control and emergency exits | Card reader |  | MFP-800 | Card reader without pin code inside |  |  | B | 40 | pcs. | 1 | x |  |  | 0
| 155 | 450 | Communication, security and information technology systems | Access control and emergency exits | Card reader |  | MFP-80/W02 | - |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 156 | 450 | Communication, security and information technology systems | Access control and emergency exits | Card reader |  | A5300-FB | Gache el 12/24V Rupture |  |  | B | 39 | pcs. | 1 | x |  |  | 0
| 157 | 450 | Communication, security and information technology systems | Access control and emergency exits | Contactless badge reader | Interflex | IF-MPF-800 |  |  |  | B | 19 | pcs. | 1 | x |  |  | 0
| 158 | 450 | Communication, security and information technology systems | Access control and emergency exits | Contactless badge reader | INTERFLEX |  |  |  |  | B | 26 | pcs. | 1 | x |  |  | 0
| 159 | 450 | Communication, security and information technology systems | Access control and emergency exits | Contactless badge reader | Interflex | IF-MPF-800 | Mifare desfire - black |  |  |  | 2 | pcs | 1 | x |  |  | 0
| 160 | 450 | Communication, security and information technology systems | Access control and emergency exits | Control unit for door closing system | Zettler | QRM850 | for 2 detectors |  |  | B | 1 | pcs. | 1 |  | x
| 161 | 450 | Communication, security and information technology systems | Access control and emergency exits | Controller |  | IF-4072-16 | Terminal controller |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 162 | 450 | Communication, security and information technology systems | Access control and emergency exits | Detector single display | Zettler | 4B-DAF |  |  |  | B | 1 | pcs. | 1 |  | x
| 163 | 450 | Communication, security and information technology systems | Access control and emergency exits | Door control unit | INTERFLEX |  | For 1-2 doors (connected to existing badge reader) |  |  | B | 26 | pcs. | 1 | x |  |  | 0
| 164 | 450 | Communication, security and information technology systems | Access control and emergency exits | Door control unit for 1 or 2 doors | Interflex | I/O Board |  |  |  | B | 19 | pcs. | 1 | x |  |  | 0
| 165 | 450 | Communication, security and information technology systems | Access control and emergency exits | Door magnet | GEZE | 155569 | 24V, 1000 N |  |  | B | 1 | pcs. | 1 |  | x
| 166 | 450 | Communication, security and information technology systems | Access control and emergency exits | EMA management software | ARITECH | DC101 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 167 | 450 | Communication, security and information technology systems | Access control and emergency exits | Emergency door control unit | GEZE | TZ-320 SN |  |  |  | B | 16 | pcs. | 1 | x |  |  | 0
| 168 | 450 | Communication, security and information technology systems | Access control and emergency exits | Emergency escape system | GEZE | TZ320SN |  |  |  | B | 6 | pcs. | 1 | x |  |  | 0
| 169 | 450 | Communication, security and information technology systems | Access control and emergency exits | Escape security system | GEZE |  |  |  |  | A | 3 | pcs. | 1 | x |  |  | 0
| 170 | 450 | Communication, security and information technology systems | Access control and emergency exits | Ethernet TCP-IP Expansion module | ARITECH | CS875M |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 171 | 450 | Communication, security and information technology systems | Access control and emergency exits | Exit signs ceiling | Van Lien | HOR |  |  |  | B | 7 | pcs. | 2 |  | x
| 172 | 450 | Communication, security and information technology systems | Access control and emergency exits | Exit signs wall | Van Lien | HOR |  |  |  | B | 15 | pcs. | 2 |  | x
| 173 | 450 | Communication, security and information technology systems | Access control and emergency exits | Expansion cards for transponder inputs | ARITECH | CS216 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 174 | 450 | Communication, security and information technology systems | Access control and emergency exits | External break key | Merten | M-Smart |  |  |  | B | 1 | pcs. | 1 |  | x
| 175 | 450 | Communication, security and information technology systems | Access control and emergency exits | Handicapped toilet emergency alarm system | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 176 | 450 | Communication, security and information technology systems | Access control and emergency exits | Illuminated 'Evacuation' sign | Thomas & Betts | AC70110EK | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 177 | 450 | Communication, security and information technology systems | Access control and emergency exits | Illuminated 'No entry' sign | Thomas & Betts | AC70110EK | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 178 | 450 | Communication, security and information technology systems | Access control and emergency exits | LCD operating device with 4*16 sights | ARITECH | CS5500 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 179 | 450 | Communication, security and information technology systems | Access control and emergency exits | Magnetic contact for doors | ARITECH |  |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 180 | 450 | Communication, security and information technology systems | Access control and emergency exits | Magnetic contact for doors | ARITECH |  |  |  |  | A | 6 | pcs. | 1 | x |  |  | 0
| 181 | 450 | Communication, security and information technology systems | Access control and emergency exits | Master key cylinder | Wilka | TH6-155639 | Master key GEZE cylinder with 3 keys |  |  | B | 16 | pcs. | 1 | x |  |  | 0
| 182 | 450 | Communication, security and information technology systems | Access control and emergency exits | Motor locks | GEZE | IQ Lock EM 9325 PZ |  |  |  | B | 20 | pcs. | 1 | x |  |  | 0
| 183 | 450 | Communication, security and information technology systems | Access control and emergency exits | Relay Expansion module with 8 changeover contact relays | ARITECH | CS216 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 184 | 450 | Communication, security and information technology systems | Access control and emergency exits | Security light |  |  | Only the light bulbs |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 185 | 450 | Communication, security and information technology systems | Access control and emergency exits | Security light | [5 empty] | B | 37 | pcs. | 1 |  | x
| 186 | 450 | Communication, security and information technology systems | Access control and emergency exits | Security light |  |  | With signs |  |  | B | 8 | pcs. | 1 |  | x
| 187 | 450 | Communication, security and information technology systems | Access control and emergency exits | security lights ceiling | Van Lien | SER |  |  |  | B | 41 | pcs. | 2 |  | x
| 188 | 450 | Communication, security and information technology systems | Access control and emergency exits | Security software |  | IF6040 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 189 | 450 | Communication, security and information technology systems | Access control and emergency exits | Shutoff module | Zettler | RIM800 | 1 output |  |  | B | 4 | pcs. | 1 |  | x
| 190 | 450 | Communication, security and information technology systems | Access control and emergency exits | Shutoff module | Zettler | SIO800 | 1 output, 1 input |  |  | B | 5 | pcs. | 1 |  | x
| 191 | 450 | Communication, security and information technology systems | Access control and emergency exits | Shutoff module | Zettler | QRM850 | 4 output |  |  | B | 2 | pcs. | 1 |  | x
| 192 | 450 | Communication, security and information technology systems | Access control and emergency exits | Shutoff module | Zettler | QIO850 | 4 output, 4 input |  |  | B | 8 | pcs. | 1 |  | x
| 193 | 450 | Communication, security and information technology systems | Access control and emergency exits | Shutoff module | Zettler | HVR800 | 230V |  |  | B | 2 | pcs. | 1 |  | x
| 194 | 450 | Communication, security and information technology systems | Access control and emergency exits | Singularization doors | Orthos | PIL-S01 |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
X | 195 | 450 | Communication, security and information technology systems | Access control and emergency exits | Speed gates | CHARON ARGUS | HSD-03 E4 | For delivery |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 197 | 450 | Communication, security and information technology systems | Access control and emergency exits | Speed gates | ARGUS | HSB-E12 | Ground floor |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 198 | 450 | Communication, security and information technology systems | Access control and emergency exits | TCP-IP extension module for door control unit | Interflex | IF4072-8 |  |  |  | B | 7 | pcs. | 1 | x |  |  | 0
| 199 | 450 | Communication, security and information technology systems | Access control and emergency exits | TCP-IP extension module for door control unit | INTERFLEX |  |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 200 | 450 | Communication, security and information technology systems | Access control and emergency exits | Terminal control unit | Interflex | IF4072-8 |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 201 | 450 | Communication, security and information technology systems | Access control and emergency exits | Terminal control unit | INTERFLEX |  | For 4 doors |  |  | B | 7 | pcs. | 1 | x |  |  | 0
| 202 | 450 | Communication, security and information technology systems | Access control and emergency exits | Turnstile | Kerberos | S01 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 203 | 450 | Communication, security and information technology systems | Access control and emergency exits | Video control unit | AXIS | T8310 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 204 | 450 | Communication, security and information technology systems | Access control and emergency exits | Visualization | GEZE | VAT220SN |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 205 | 450 | Communication, security and information technology systems | Emergency equipment | AED defibrillator | [5 empty] | B | 5 | pcs. | 1 | x |  |  | 0
| 206 | 450 | Communication, security and information technology systems | Emergency equipment | First-aid boxes | [5 empty] | B | 9 | pcs. | 1 | x |  |  | 0
| 207 | 450 | Communication, security and information technology systems | Emergency equipment | Urgency chairs | [5 empty] | C | 8 | pcs. | 1 | x |  |  | 0
| 208 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | 3/8 HP hoses |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 9 | pcs. | 1 | x |  |  | 0
| 209 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Actuation pushbutton | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 210 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Actuation pushbutton | ESSER | Gelb | Push button " START " Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 211 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Alert communication System |  |  | Intrusion detection system |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 212 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Argonite bottles |  | 80 litre cylinder at 200 bar | Room Server R+1 and Room Server R+2 |  |  | B | 9 | pcs. | 1 | x |  |  | 0
| 213 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Argonite bottles | WORTINGTHON | 80l - 300Bar B0480 | 80 litre cylinder at 300 bar Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 214 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Combination signalling device siren-flash | ESSER | Weiss | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 215 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Control module fire |  |  | Contact input module panel CIM 800 MX |  |  | B | 2 | pcs. | 1 |  | x
| 216 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Control module fire |  |  | Relay interface mod RIM 800 |  |  | B | 9 | pcs. | 1 |  | x
| 217 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Controls and alarm forwarding | ESSER | Testen | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 218 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Detection/control unit | Esser | Fire detection and extinguishing computer 8010 - Wall-mounted | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 219 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Detection/control unit with standby batteries | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 220 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Detector | Zettler | 850P | Smoke and heat detectors |  |  | B | 146 | pcs. | 1 |  | x
| 221 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Detector | Zettler | DPK-4 | Fire detector (Ventilation duct detector) |  |  | B | 2 | pcs. | 1 |  | x
| 222 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Display | Zettler | ZXF | External display for 2 fire zones |  |  | B | 1 | pcs. | 1 |  | x
| 223 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Electro-magnetic actuator with control unit |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 224 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Electro-magnetic actuator with control unit | ROTAREX | B0480 - EQUI_009 | Room Server R+2 |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 225 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Emergency shutdown button with flash indicator | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 226 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Emergency shutdown button with flash indicator | ESSER | Blue | Push button " STOP " Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 227 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Emergency shutdown reset button | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 228 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Emergency shutdown reset button | ESSER | Green | Push button " RESET " Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 229 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Exhaust | GEZE | E260 N32/6 | Smoke alarm system RWA |  |  | B | 1 | pcs. | 1 |  | x
| 230 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | External components |  |  | 1 Keypad FBF 800 1 Display FAT 1 Power Supply for Sirens PM 831 2 Accus 12V 7.2AH |  |  | B | 1 | pcs. | 1 |  | x
| 231 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire alarm flash indicator | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 232 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire alarm flash indicator | ESSER | Rot | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 233 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire alarm siren | ESSER | Rot | Room Server ground floor |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 234 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire damper angular | Schako | BKA-EN |  |  |  | B | 22 | pcs. | 2 |  | x
| 235 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire damper angular | Schako | BKA-EN |  |  |  | B | 3 | pcs. | 2 |  | x
| 236 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire damper circular | Schako | RPR |  |  |  | B | 27 | pcs. | 2 |  | x
| 237 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire damper circular | Schako | RPR-S | Ground floor |  |  | B | 4 | pcs. | 2 |  | x
| 238 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire damper rectangular | Schako | BKA-EN | Ground floor |  |  | B | 2 | pcs. | 2 |  | x
| 239 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire detector |  | 850P | Photo detector |  |  | B | 184 | pcs. | 1 |  | x
| 240 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire detector |  | 800HL | Remote dual LED indicator |  |  | B | 18 | pcs. | 1 |  | x
| 241 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire detector | ZETTLER | 850P |  |  |  | B | 28 | pcs. | 1 |  | x
| 242 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire extinguishers | [5 empty] | B | 19 | pcs. | 1 | x |  |  | 0
| 243 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire extinguishers |  | CO2 + A B F |  |  |  |  | 42 | pcs | 1 | x |  |  | 0
| 244 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire protection gate |  |  | To be check on site including catching device outside the wall without clacks and covers |  |  | B | 1 | pcs. | 1 |  | x
| 245 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Fire valve | TROX | TROX_200x200 | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 246 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Flow Switch | GKL | ACC_MAT_0010 | Room Server R+2 |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 247 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Gas distributor | MN Trade | B0480 - Col | Collector Argonite 100 bars Room Server R+2 |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 248 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Gas flux controller |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 249 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Heat detector | ZETTLER | 850H |  |  |  | B | 5 | pcs. | 1 |  | x
| 250 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | High pressure hoses | HANSAFLEX | B0480 - Flex 1/2" | Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 251 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Illuminated evacuation sign | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 252 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Illuminated 'no entry' sign | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 253 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Main board | Zettler | P405D | Fire alarm control centre |  |  | B | 1 | pcs. | 1 |  | x
| 254 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Main board fire |  |  | 1 Loop exp mod and cable 3 Expan bd 1 Field if mod -2 loop 1 German trans unit and cable 1 Multi purpose mod 1 15 way fuse board 1 Full repeater 24V DC 2 MX net int and cable 2 Accus 12V 25Ah |  |  | B | 1 | pcs. | 1 |  | x
| 255 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Manifold at 200 bar including pressure-reducer |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 256 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Mano control block / pressure switch | ROTAREX | B0480 - EQUI_007-014 | Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 257 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Manual call point | ZETTLER | DIN820 | Red |  |  | B | 17 | pcs. | 1 |  | x
| 258 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Optical smoke detector | [5 empty] | B | 12 | pcs. | 1 | x |  |  | 0
| 259 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Optical smoke detector | ESSER | IQ8QUAD | Room Server ground floor |  |  | B | 6 | pcs. | 1 | x |  |  | 0
| 260 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Pneumatic actuator |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 7 | pcs. | 1 | x |  |  | 0
| 261 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Pneumatic actuator | ROTAREX | B0480 - EQUI_010 | Room Server R+2 |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 262 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Pneumatic manual actuator |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 263 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Poppet valve | Strulik | BTZ-2 |  |  |  | B | 4 | pcs. | 2 |  | x
| 264 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Poppet valve | [5 empty] | B | 58 | pcs. | 1 |  | x
| 265 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Pressure regulator/pressure switch control units |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 9 | pcs. | 1 | x |  |  | 0
| 266 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Pressure-relief valve |  |  | Room Server R+1 and Room Server R+2 |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 267 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Pressure-relief valve | LUCOMA | SUR_200x200 | Room Server ground floor |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 268 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Shutoff module | ZETTLER | RIM800 | 1 relays 24V + 1 input |  |  | B | 6 | pcs. | 1 |  | x
| 269 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Shutoff module | ZETTLER | SIO800 | 1 relays 24V + 1 input |  |  | B | 2 | pcs. | 1 |  | x
| 270 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Shutoff module | ZETTLER | QIO850 | 4 relays 24V + 4 input |  |  | B | 5 | pcs. | 1 |  | x
| 271 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Siren | ZETTLER | LPBS3000 |  |  |  | B | 10 | pcs. | 1 |  | x
| 272 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Siren/ flash light | ZETTLER | LPBS3000 |  |  |  | B | 9 | pcs. | 1 |  | x
| 273 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Sounder module |  | LPSB3000 LP | Sounder base |  |  | B | 43 | pcs. | 1 |  | x
| 274 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Sounder module |  | LPAV300 LP | Sounder beacon/base |  |  | B | 21 | pcs. | 1 |  | x
| 275 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Sounder module | Zettler | LP883000 | siren |  |  | B | 58 | pcs. | 1 |  | x
| 276 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Two-tone fire alarm siren | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 277 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | W HP hoses |  |  | Room Server R+2 |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 278 | 450 | Communication, security and information technology systems | Fire Protection and Prevention | Y-0 HP hoses |  |  | Room Server R+1 |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 279 | 450 | Communication, security and information technology systems | Intercom system | 16 channel Video encoder rack | Samsung | SPE-1600R |  |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 280 | 450 | Communication, security and information technology systems | Intercom system | 4 channel Video Encoder Blade | Samsung | SPE-4820 |  |  |  | B | 9 | pcs. | 1 | x |  |  | 0
| 281 | 450 | Communication, security and information technology systems | Intercom system | Camera | Santec | VTC/HDH359IRPU/G | Analogue camera day/night with housing |  |  | B | 25 | pcs. | 1 | x |  |  | 0
| 282 | 450 | Communication, security and information technology systems | Intercom system | Camera | Santec | VTC/HDH444IRPWDU | Analogue camera IR day/night with housing |  |  | B | 9 | pcs. | 1 | x |  |  | 0
| 283 | 450 | Communication, security and information technology systems | Intercom system | Camera | Siedle |  | Camera module colour bus |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 284 | 450 | Communication, security and information technology systems | Intercom system | Central unit for video control | SeeTec | Cayuga S50x |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 285 | 450 | Communication, security and information technology systems | Intercom system | Distribution module video bus | Siedle |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 286 | 450 | Communication, security and information technology systems | Intercom system | Door phone module bus | Siedle |  |  |  |  | B | 8 | pcs. | 1 | x |  |  | 0
| 287 | 450 | Communication, security and information technology systems | Intercom system | Info sign module sil/met | Siedle |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 288 | 450 | Communication, security and information technology systems | Intercom system | Intercom station | [5 empty] | B | 4 | pcs. | 1 | x |  |  | 0
| 289 | 450 | Communication, security and information technology systems | Intercom system | Module bus 1 button | [5 empty] | B | 17 | pcs. | 1 | x |  |  | 0
| 290 | 450 | Communication, security and information technology systems | Intercom system | Module with LED | Siedle |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 291 | 450 | Communication, security and information technology systems | Intercom system | Output module audio | Siedle |  |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 292 | 450 | Communication, security and information technology systems | Intercom system | Phone | Siedle | BTCV 850-03 |  |  |  | B | 1 | pcs. | 1 |  | x
| 293 | 450 | Communication, security and information technology systems | Intercom system | Power supply | Siedle | 1 power supply video bus Siedle 1 power supply Siedle 1 accessoire alimentation bus Siedle |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 294 | 450 | Communication, security and information technology systems | Intercom system | Reader module | Siedle |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 295 | 450 | Communication, security and information technology systems | Intercom system | Recorder | Santec | SanStore 16-LEMX digital recorder | Power supply inside 230V/12V DC/1.5A Power supply outside 230V/24VAC/5A |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 296 | 450 | Communication, security and information technology systems | Intercom system | Recorder | Santec | SanStore 8-LEMX digital recorder | Power supply inside 230V/12V DC/1.5A Power supply outside 230V/24VAC/5A |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 297 | 450 | Communication, security and information technology systems | Intercom system | SanStore EMS software | Santec |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 298 | 450 | Communication, security and information technology systems | Intercom system | Video door station | Siedle | VARIO | V2A for surface mounting |  |  | B | 1 | pcs. | 1 |  | x
| 299 | 450 | Communication, security and information technology systems | Intrusion system | Alarm Detector |  | EV 1012 | Motion detector including 5 magnetic contacts DC 101 |  |  | B | 24 | pcs. | 1 | x |  |  | 0
| 300 | 450 | Communication, security and information technology systems | Intrusion system | Contact for roller shutter with reinforced hose | ARITECH | DC108 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 301 | 450 | Communication, security and information technology systems | Intrusion system | Control Module |  | CS208H | Extension module |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 302 | 450 | Communication, security and information technology systems | Intrusion system | Control Module |  | CS216H | Extension module |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 303 | 450 | Communication, security and information technology systems | Intrusion system | Camera | Samsung | SND-7084P | Fixed dome camera, 3MP |  |  | B | 8 | pcs. | 1 | x |  |  | 0
| 304 | 450 | Communication, security and information technology systems | Intrusion system | Intercom system software | SeeTec |  | Central unit for video control B |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 305 | 450 | Communication, security and information technology systems | Intrusion system | Intrusion detection system | ARITECH | CS874M |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 306 | 450 | Communication, security and information technology systems | Intrusion system | Magnetic contact for doors | ARITECH | DC101 |  |  |  | B | 23 | pcs. | 1 | x |  |  | 0
| 307 | 450 | Communication, security and information technology systems | Intrusion system | Main Board: Accu 12V 7.2 AH | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 308 | 450 | Communication, security and information technology systems | Intrusion system | Main Board: Centrale CS 575 | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 309 | 450 | Communication, security and information technology systems | Intrusion system | Main Board: Display CS55000 | [5 empty] | B | 3 | pcs. | 1 | x |  |  | 0
| 310 | 450 | Communication, security and information technology systems | Intrusion system | Main Board: Extension Output CS507 | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 311 | 450 | Communication, security and information technology systems | Intrusion system | Main Board: Transmission Device CS535N | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 312 | 450 | Communication, security and information technology systems | Intrusion system | Motion detector | TELENOT |  | Infrared, indoor |  |  | B | 15 | pcs. | 1 | x |  |  | 0
| 313 | 450 | Communication, security and information technology systems | Intrusion system | Motion detector IR interior | ARITECH | EV1012-D |  |  |  | B | 8 | pcs. | 1 | x |  |  | 0
| 314 | 450 | Communication, security and information technology systems | Intrusion system | Multiplexer for camera | HP, Samsung | Workstation Z230 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 315 | 450 | Communication, security and information technology systems | Intrusion system | Rack 27 U | EFB | RACK 27U |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 316 | 450 | Communication, security and information technology systems | Intrusion system | Sounder Module: Accu 12V 7.2 AH | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 317 | 450 | Communication, security and information technology systems | Intrusion system | Sounder Module: Siren inside AS270 | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 318 | 450 | Communication, security and information technology systems | Intrusion system | Sounder Module: Siren outside AS630S1 | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 319 | 450 | Communication, security and information technology systems | Intrusion system | Switch with 24 PPOe + ethernet ports and 4 SFP ports | HP | HPE 2920 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 320 | 450 | Communication, security and information technology systems | Intrusion system | Video system and server | HP | HPE Proliant |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 321 | 450 | Communication, security and information technology systems | Security equipment | 2-Channel Output Module | WAGO |  |  |  |  | B | 6 | pcs. | 1 | x |  |  | 0
| 322 | 450 | Communication, security and information technology systems | Security equipment | 8-Channel Input Module | WAGO |  |  |  |  | B | 6 | pcs. | 1 | x |  |  | 0
| 323 | 450 | Communication, security and information technology systems | Security equipment | Bomb Sniffer | Bomb Sniffer | [5 empty] | 1 | pcs. | 1 | x |  |  | 0
| 324 | 450 | Communication, security and information technology systems | Security equipment | Bullet Network cam outside 2MP | Samsung | XNO-6080R |  |  |  | A | 13 | pcs. | 1 | x |  |  | 0
| 325 | 450 | Communication, security and information technology systems | Security equipment | Camera | Samsung | SNO-6084R | Bullet network camera, indoor, 3MP |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 326 | 450 | Communication, security and information technology systems | Security equipment | Bus completion module | WAGO |  |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 327 | 450 | Communication, security and information technology systems | Security equipment | Connection box for outside camera | Samsung |  |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 328 | 450 | Communication, security and information technology systems | Security equipment | Control Module | GEZE | 78111 | Signal contacts |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 329 | 450 | Communication, security and information technology systems | Security equipment | Control Module | WAGO | 750-652 | 1 Controller CPU 32-Bit |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 330 | 450 | Communication, security and information technology systems | Security equipment | Control Module | WAGO | 750-430 | 8 Channel Input Module |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 331 | 450 | Communication, security and information technology systems | Security equipment | Control Module | WAGO | 750-517 | 32 Channel Output Module |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 332 | 450 | Communication, security and information technology systems | Security equipment | Control Module | WAGO | 750-600 | Bus completion module |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 333 | 450 | Communication, security and information technology systems | Security equipment | Control Module | Hensel | KV9230 | Distributors |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 334 | 450 | Communication, security and information technology systems | Security equipment | Controller CPU 32-Bit | WAGO |  |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 335 | 450 | Communication, security and information technology systems | Security equipment | Controlling and connecting of the elevators staircase A and B | DIVERS |  |  |  |  | A | 2 | pcs. | 1 | x |  |  | 0
| 336 | 450 | Communication, security and information technology systems | Security equipment | Distribution cabinet | Schneider |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 337 | 450 | Communication, security and information technology systems | Security equipment | Ethernet TCP-IP Expansion module | TELENOT | complex 400H |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 338 | 450 | Communication, security and information technology systems | Security equipment | Ethernet-Repeater | BOSCH | CNFE1RPT/M |  |  |  | A | 17 | pcs. | 1 | x |  |  | 0
| 339 | 450 | Communication, security and information technology systems | Security equipment | Expansion cards for transponder inputs | TELENOT | MGM |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 340 | 450 | Communication, security and information technology systems | Security equipment | Extension existing Fixed Dome Cam via Fixed Dome 3 MP | Samsung | SND-7084P |  |  |  | A | 5 | pcs. | 1 | x |  |  | 0
| 341 | 450 | Communication, security and information technology systems | Security equipment | Extension Video Server | HP |  | Up to 50TB RAM |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 342 | 450 | Communication, security and information technology systems | Security equipment | Feed terminal | WAGO |  | Max 750mA |  |  | B | 3 | pcs. | 1 | x |  |  | 0
| 343 | 450 | Communication, security and information technology systems | Security equipment | Fix-Dome-Network cam | Samsung | SND-7084P |  |  |  | A | 19 | pcs. | 1 | x |  |  | 0
| 344 | 450 | Communication, security and information technology systems | Security equipment | Intrusion detection system | TELENOT | complex 400H |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 345 | 450 | Communication, security and information technology systems | Security equipment | Licence per camera | SEETEC | Cayuga S100 |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 346 | 450 | Communication, security and information technology systems | Security equipment | Message group extension card | TELENOT |  |  |  |  | A | 4 | pcs. | 1 | x |  |  | 0
| 347 | 450 | Communication, security and information technology systems | Security equipment | Metal detector | Metor | 6M - S/N |  |  |  |  | 1 | pcs. | 1 | x |  |  | 0
| 348 | 450 | Communication, security and information technology systems | Security equipment | Patch cabling CU | EFB |  |  |  |  | B | 8 | pcs. | 1 | x |  |  | 0
| 349 | 450 | Communication, security and information technology systems | Security equipment | Patch cabling LWL | EFB |  |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 350 | 450 | Communication, security and information technology systems | Security equipment | Patch panel | EFB | 37578.1 + E-20072 | Modular 19" Patch panel 24-ports, 1 HE |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 351 | 450 | Communication, security and information technology systems | Security equipment | Power supply unit expansion housing | TELENOT | complex 400H |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 352 | 450 | Communication, security and information technology systems | Security equipment | Relay expansion module | TELENOT | MGM | With 8 changeover contact relays |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 353 | 450 | Communication, security and information technology systems | Security equipment | Relay Expansion module with 8 changeover contact relays | TELENOT |  |  |  |  | A | 2 | pcs. | 1 | x |  |  | 0
| 354 | 450 | Communication, security and information technology systems | Security equipment | Camera | Safire | SF-IPD825ZWA-8P-HV | Temporary camera L4H entrance |  |  |  | 1 | pcs. | 1 | x |  |  | 0
| 355 | 450 | Communication, security and information technology systems | Security equipment | Siren for local alert | Roshni |  |  |  |  | A | 6 | pcs. | 1 | x |  |  | 0
| 356 | 450 | Communication, security and information technology systems | Security equipment | Splice box | EFB | B71203.12OM3 | Splice box 19’ pull-out |  |  | B | 2 | pcs. | 1 | x |  |  | 0
| 357 | 450 | Communication, security and information technology systems | Security equipment | Switch | HP |  | Switch with 24 PPoE + Ethernet ports and 4 SFP Ports |  |  | B | 5 | pcs. | 1 | x |  |  | 0
| 358 | 450 | Communication, security and information technology systems | Security equipment | Upgrade Video management system | SEETEC | Cayuga S100 |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 359 | 450 | Communication, security and information technology systems | Security equipment | Video Management Centre | HP |  |  |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 360 | 450 | Communication, security and information technology systems | Security equipment | Video system and server | HP |  | Video-Rechner-Server |  |  | B | 1 | pcs. | 1 | x |  |  | 0
| 361 | 450 | Communication, security and information technology systems | Security equipment | X-ray scanner | Rapiscan | 622 - S/N |  |  |  |  | 1 | pcs. | 1 | x |  |  | 0
| 362 | 450 | Communication, security and information technology systems | Sunblinds | Sun blind switch |  | Various versions |  |  |  | B | 110 | pcs. | 1 |  | x
x | 363 | 470 | User-specific systems | Acoustic | Sound Masking | Environment Acoustics SA |  |  |  |  | B | 4 | pcs. | 1 | x |  |  | 0
| 364 | 470 | User-specific systems | Acoustic | Sound Masking | LogiSon Acoustic Network | Noise reduction device |  |  |  | B | 2 | pcs. | 1 | x |  |  | 0
x | 365 | 470 | User-specific systems | Air quality | Fragrance dispensers | Tork |  | Automatic perfume dispenser | Warranty to 2023-07 |  |  | 6 | pcs. | 1 | x |  |  | 0
| 366 | 470 | User-specific systems | Air quality | Fragrance dispensers | Tork |  |  | Warranty to 2023-07 |  |  | 6 | pcs. | 1 | x |  |  | 0
x | 367 | 470 | User-specific systems | Air quality | UV-C lights Air purifier | ASS |  |  | Warranty to 2023-09 |  |  | 230 | pcs | 2 | x |  |  | 0
x | 368 | 470 | User-specific systems | Air quality | UV-C lights Air purifier | Erich Keller |  |  | Warranty to 2023-09 |  |  | 9 | pcs | 2 | x |  |  | 0
x | 369 | 470 | User-specific systems | Air quality | UV-C lights Air purifier | Philipps |  |  | Warranty to 2022-09 |  |  | 16 | pcs | 2 | x |  |  | 0
| 370 | 470 | User-specific systems | Air quality | UV-C lights Air purifier | ASS | T3600PUHVC |  | Warranty to 2023-09 |  |  | 222 | pcs | 1 | x |  |  | 0
| 371 | 470 | User-specific systems | Air quality | UV-C lights Air purifier | Erich Keller | Steri move |  | Warranty to 2023-09 |  |  | 6 | pcs | 2 | x |  |  | 0
| 372 | 470 | User-specific systems | Air quality | UV-C lights Air purifier | Philipps | SM345C |  | Warranty to 2022-09 |  |  | 19 | pcs | 2 | x |  |  | 0
| 373 | 470 | User-specific systems | Blinds | Blind cover | JUNG | LS994 B WW |  |  |  | B | 31 | pcs. | 1 | x |  |  | 0
| 374 | 470 | User-specific systems | Building management | Building Management System(BMS) station |  |  | 7 |  |  | B | 1 | pcs. | 1 |  | x
| 375 | 470 | User-specific systems | Building management | Control cabinet | Siemens |  | 7 |  |  | B | 2 | pcs. | 1 |  | x
| 376 | 470 | User-specific systems | Building management | KNX building automation system | [5 empty] | B | 1 | pcs. | 1 | x |  |  | 0
| 377 | 470 | User-specific systems | Drinking water | Filter capsules | Everpure | Agion 2DC | To be changed once a year |  |  |  | 3 | pcs | 1 | x |  |  | 0
| 378 | 470 | User-specific systems | Drinking water | water dispensers | KALIX | 2348p19778 | To be checked once a year To check & replace the filter according to the usage |  |  |  | 3 | pcs | 1 | x |  |  | 0
| 379 | 470 | User-specific systems | Furniture | Shelves & extension | outilmat |  | To be checked once a year. Dussman stocking area on 1st floor |  |  |  | 2 | pcs | 1 | x |  |  | 0
| 380 | 470 | User-specific systems | Sunblinds | internal sunblind | solar screen | SSFOFST2300801 | GF side entrance |  |  |  | 1 | pcs. | 1 | x |  |  | 0
| 381 | 430 | Ventilation and air conditioning systems | Ventilation | Kitchen exhaust (degreasing of exhaust system kitchen, 2 times a year ) | [5 empty] | B | 1 | pcs. | 4 | x |  |  | 0
| 382 | 450 | Communication, security and information technology systems | CCTV | Screen/monitor for video surveillance | [5 empty] | A | 4 | pcs. | 1 | x |  |  | 0
| 383 | - | Furniture and furnishings | Meeting room | Mobile room box | [5 empty] | B | 2 | pcs. | 1 | x |  |  | 0
| 384 | - | Furniture and furnishings | Office desks | Work desks - staff | Ophelis |  |  |  |  | B | 307 | pcs. | 1 | x |  |  | 0
| 385 | - | Furniture and furnishings | Office desks | Work desks - consultants | Ophelis |  |  |  |  | B | 18 | pcs. | 1 | x |  |  | 0
| 386 | - | Furniture and furnishings | Tables | Meeting room tables | [5 empty] | B | 50 | pcs. | 1 | x |  |  | 0
| 387 | - | Furniture and furnishings | Canteen furniture | Dining room tables | [5 empty] | B | 2 | pcs. | 1 | x |  |  | 0
| 388 | - | Furniture and furnishings | Canteen furniture | Dining room chairs | [5 empty] | B | 20 | pcs. | 1 | x |  |  | 0
| 389 | - | Furniture and furnishings | Canteen furniture | Canteen chairs | [5 empty] | B | 85 | pcs. | 1 | x |  |  | 0
| 390 | - | Furniture and furnishings | Chairs | Employee chairs | Herman Miller |  |  |  |  | B | 315 | pcs. | 1 | x |  |  | 0
| 391 | - | Furniture and furnishings | Chairs | Meeting room chairs | [5 empty] | B | 323 | pcs. | 1 | x |  |  | 0
| 392 | - | Furniture and furnishings | Chairs | Events chairs | [5 empty] | B | 308 | pcs. | 1 | x |  |  | 0
| 393 | - | Furniture and furnishings | Seating areas | Diners, sofas, other | [5 empty] | B | 10 | pcs. | 1 | x |  |  | 0
| 394 | - | Furniture and furnishings | File storage | Cupboards | [5 empty] | B | 307 | pcs. | 1 | x |  |  | 0
| 395 | - | Furniture and furnishings | File storage | Drawers | [5 empty] | B | 307 | pcs. | 1 | x |  |  | 0
| 396 | - | Furniture and furnishings | File storage | Pull-out storage | [5 empty] | B | 307 | pcs. | 1 | x |  |  | 0
| 397 | - | Furniture and furnishings | File storage | Archive cabinets | [5 empty] | B | 5 | pcs. | 1 | x |  |  | 0
| 398 | - | Furniture and furnishings | Terrace furniture | Sun umbrellas | [5 empty] | B | 4 | pcs. | 1 | x |  |  | 0
| 399 | - | Gym equipment | Gym equipment | Various | [5 empty] | B | 36 | pcs. | 1 | x |  |  | 0
| 400 | 340 | Interior walls | Partition wall systems | Various components | GBK |  |  |  |  | B | 900 | m' | 1 | x |  |  | 0
| 401 | 340 | Interior walls | Non-partition interior walls | Wall painted surfaces |  |  | Touch-up paint for 550m2 included in the maintenance cost. |  |  | B | 5685 | m2 | 1 | x |  |  | 0
| 402 | 450 | Communication, security and information technology systems | Security equipment | Metal detector | Metor | 28 | Handheld |  |  | A | 2 | pcs. | 1 | x |  |  | 0
| 403 | 450 | Communication, security and information technology systems | Security equipment | Camera surveillance/ monitoring software | Seetec |  |  |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 404 | 450 | Communication, security and information technology systems | Security equipment | Recorder | Santec |  | Sanstore recording devices for data recording from cameras |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 405 | 450 | Communication, security and information technology systems | Security equipment | Netview to forward camera pictures to remote monitoring center | [5 empty] | A | 1 | pcs. | 1 | x |  |  | 0
| 406 | 450 | Communication, security and information technology systems | Security equipment | Alarm system |  |  | System to forward defined alarms to remote monitoring center (e.g. motion detectors, temperature alerts, fire alarms) |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 407 | 450 | Communication, security and information technology systems | Security equipment | Key storage | Kabamas |  | Outside the building |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 408 | 450 | Communication, security and information technology systems | Security equipment | Key safe |  |  | Inside the building, remote control by the Service Provider |  |  | A | 1 | pcs. | 1 | x |  |  | 0
| 409 | 450 | Communication, security and information technology systems | Security equipment | Camera | [5 empty] | A | 26 | pcs. | 1 | x |  |  | 0
Note on M28: Quantity was previously 8

## CGR DIN 276 (hidden)
Cost group DIN 276 | Designation
330 | Exterior walls
340 | Interior walls
370 | Infrastructure facilities
410 | Sewage, water and gas systems
430 | Ventilation and air conditioning systems
440 | Power installations
450 | Communication, security and information technology systems
470 | User-specific systems